## Slide 1: An Overview of U.P. State Sector Power
Er. R.C.Srivastava, FIE Past Chairman, IEI, Anpara Local Center Chief Engineer(L-1) Retd., UPRVUNL

## Slide 2
U.P. State Sector Power-An Overview
The Electricity requirements of Uttar Pradesh were being fulfilled solely by U.P. State Electricity Board since its inception in 1959 through its Generation, Transmission and Distribution wings till the formation of Uttar Pradesh Rajya Vidyut Utpadan Nigam Limited (UPRVUNL) in 1980 by the government exclusively for thermal electricity generation. Subsequently there were three power sector entities in the state namely UPSEB, Uttar Pradesh Rajya Vidyut Utpadan Nigam Limited (UPRVUNL) and Uttar Pradesh Jal Vidyut Utpadan Nigam Limited (UPJVNL).
Uttar Pradesh Rajya Vidyut Utpadan Nigam Limited (UPRVUNL) was constituted on dated 25.08.1980 under the Companies' Act 1956 for construction of new thermal power projects in the state sector. The first Thermal Power Station constructed by UPRVUNL was Unchahar Thermal Power Station of 2X210 MW capacity and it was transferred by the government to NTPC on dated 13.02.1992.
On dated 14.01.2000, in accordance to U.P. State Electricity Reforms Acts 1999 and operation of U.P. Electricity Reforms Transfer Scheme 2000, U.P. State Electricity Board, till then responsible for generation, transmission and distribution of power within the state of Uttar Pradesh, was unbundled and operations of the state sector thermal power stations were handed over to UPRVUNL (with installed capacity 5886 MW).
UPRVUNL is currently a wholly state owned thermal power utility with present generating capacity of 8460 MW, operating 6 Thermal Power Stations within Uttar Pradesh. Poised to contribute in the growth of state, we're in the process of adding further 660 MW capacity with super critical technology to our existing fleet.

## Slide 3
UPRVUNL is presently looking after the operations of 6 thermal power plants located in different parts of U.P., having planting facilities as follows:
Name of Power Station | Installed Capacity | Derated/Present Capacity | Total Derated/ Present Capacity
ANPARA, SONEBHADRA | 3X210 MW, 2X500 MW and 2X500MW | 3X210 MW, 2X500 MW and 2X500MW | 2630 MW
OBRA, SONEBHADRA | 5X50 MW, 3X100 MW, 5X200 MW and 2X660 MW | 5X200 MW and 2X660 MW ( One 660 MW Unit is Under Construction) | 1660 MW
HARDUAGANJ, ALIGARH | 2X50 MW, 2X55 MW, 2X60 MW. 1X110 MW, 2X250 MW and 1X660 MW | 1X110 MW, 2X250 MW and 1X660 MW | 1270 MW
PARICHHA, JHANSI | 2X110 MW, 2X210 MW and 2X250 MW | 2X210 MW and 2X250 MW | 920 MW
PANKI, KANPUR | 2X32 MW, 2X110 MW, 1X660 MW | 1X660 MW | 660 MW
JAWAHARPUR, Etah | 2X660 MW | 2X660 MW | 1320 MW
Total UPRVUNL Generation Capacity |  |  | 8460 MW

## Slide 4
Anpara Thermal Power Station
The Anpara Thermal Power Station is located near village Anpara on the bank of Rihand reservoir in the district of Sonebhadra (Uttar Pradesh). It is about 34 km from Rihand Dam on Pipri-Singrauli road and about 200 km from Varanasi. Varanasi is connected by air/rail and road route from other major cities.
All the units of Anpara TPS are coal-fired thermal units, with total plant generating capacity of 2630 MW.
The coal to all these units is fed from Kharia, Kakri and Beena open coal mines of NCL, by means of a marry-go-round system, maintained by UPRVUNL.
Obra Thermal Power Station
It is located in SONEBHADRA district at about 13 KM from CHOPAN railway station & about 8 KM off SHAKTI NAGAR road. It is about 125 KM from VARANASI, which is connected by air/rail and road route from all major cities.
All the units of Obra TPS are coal-fired thermal units, with total plant generating capacity of 1660 MW. One 660 MW unit of Obra’C’ is under final stage of commissioning and will be added soon to this plant capacity after COD.
Obra ‘C’ Extension Thermal Power Station 2X660MW has been installed with Super Critical Technology on EPC basis by UP Rajya VIdyut Utpadan Nigam Ltd. The EPC Contract was awarded to M/s Doosan Power Systems India Private Limited on date December 22nd, 2016.
Obra ‘C’ Thermal Power Plant will be fed by the coal from Saharpur Jamarpani Coal Block which will be developed by UPRVUNL. The bridge linkage for the project has also been awarded by the Ministry of Coal for

## Slide 5
Gap Management until the development of Saharpur Jamarpani Coal Block.
Provision of FGD (Flue-Gas Desulfurization) and SCR (Selective Catalytic Reduction) has been included in the scope to meet the latest environmental norms.
Harduaganj Thermal Power Station
It is located in Aligarh district at about 18 KM from Aligarh railway station. Aligarh is on Delhi-Kanpur road/rail route.
All the units of this station are coal fired thermal units, with total plant generating capacity of 1270 MW.
The coal to all these units is fed from coal mines of BCCL, ECL by means of railways.
Parichha Thermal Power Station
It is located in district JHANSI about 25 KM before Jhansi, on Kalpi-Jhansi road. Jhansi is well connected by air/rail and road route from all major cities.
All the units of this station are coal fired thermal units, with total plant generating capacity of 920 MW. The coal to all these units is fed from coal mines of BCCL, ECL by means of railways.
Panki Thermal Power Station
Having overlived its life, all the old units of Panki TPS have been deleted from the plant capacity and Panki Extension Project 1X660MW has been installed with Super Critical Technology on EPC basis by UP Rajya Vidyut Utpadan Nigam Ltd. The EPC Contract has was awarded to M/s Bharat Heavy Electricals Limited on date March 31st, 2018.

## Slide 6
The project is located in district Kanpur about 15 KM from Kanpur railway station on Kalpi road. Kanpur is well connected by air/rail and road route from all major cities.
The Thermal Power Plant will be fed by the coal from Saharpur Jamarpani Coal Block which will be developed by UPRVUNL. Also, Bridge Linkage for the project has been granted by the Ministry of Coal.
Provision of FGD (Flue-Gas Desulfurization) and SCR (Selective Catalytic Reduction) has been included in the scope to meet the latest environmental norms.
The water requirement of the project is fulfilled from the Sewage/Effluent Treatment Plants located in Bingawan, Kanpur.
Jawaharpur Thermal Power Station
Jawaharpur Thermal Power Station 2X660MW has been installed with Super Critical Technology on EPC basis. The EPC Contract was awarded to M/s Doosan Power Systems India Private Limited on date December 22nd, 2016.
Jawaharpur Power Station is located in Malawan village, Distt- Etah, Uttar Pradesh which is about 47 km from Agra. Agra is connected by air/rail and road route from other major cities.
The Thermal Power Plant will be fed by the coal from Saharpur Jamarpani Coal Block which will be developed by UPRVUNL. Also, Bridge Linkage for the project has been granted by the Ministry of Coal.
Provision of FGD (Flue-Gas Desulfurization) and SCR (Selective Catalytic Reduction) has been included in the scope to meet the latest environmental norms.
The water requirement of the project is fullfilled from Lower Ganga Canal.

## Slide 7
Sl. No | Project | Ownership | Location | Capacity | Capacity Share of UPRVUNL
1 | Meja TPS | UPRVUNL and NTPC | Meja, Allahabad | 2X660 MW | 990 MW (75% of Installed capacity)
2 | Ghatampur TPS | UPRVUNL and NLC | Ghatampur, Kanpur | 3X660 MW | 1275 MW (64.39% of Installed capacity)
Total |  |  |  | 3300 MW | 2265 MW
JOINT VENTURES
A total of 3300 MW capacity is being added by UPRVUNL in Joint Ventures with NTPC Ltd and NLC India Ltd (in which 2265 MW is the capacity share of UPRVUNL). These power projects are under construction and expected to be commissioned very soon.
Meja TPS (2X660MW)
Meja TPS (2X660MW) has been installed by Meja Urja Nigam Private Limited (MUNPL), a 50:50 Joint Venture between NTPC Limited and Uttar Pradesh Rajya Vidyut Utpadan Nigam Ltd., established in 2008. The capacity share of UPRVUNL in installed capacity is 75% which is equivalent to 990 MW.
The power plant is located in Meja Tehsil in Prayagraj district, Uttar Pradesh. Both the units of the power plant have been commissioned. The power generated by the plant is supplied mainly to Uttar Pradesh along with the states of Uttarakhand, Chandigarh, Rajasthan, Punjab, J&K, Delhi, Madhya Pradesh and Haryana.
The water for the power plant is taken from river Ganga. The Pump house is located at Bijoura Village. The coal for the power plant is supplied by Northern Coalfield Limited and Central Coalfield Limited. The power-station is connected to the grid through two double circuit 400 kV lines of UPPTCL and one double circuit 400kV line of PGCIL.

## Slide 8
Ghatampur TPS (3X660MW)
Ghatampur TPS (3X660MW) is being installed by Neyveli Uttar Pradesh Power Limited (NUPPL). It is a Joint Venture of U.P Rajya Vidyut Utpadan Nigam Limited and NLC India Limited. The equity share of UPRVUNL is 49% and the capacity share of UPRVUNL in installed capacity is 64.39% which is equivalent to 1275 MW.
This project is located in Ghatampur, Distt- Kanpur, Uttar Pradesh.
The Government of Uttar Pradesh has accorded sanction for the supply of 80 cusec of water from Western Allahabad Branch Canal (WABC) by saving the water by lining the canal and transfers the same at the downstream near Bidhnu Kasba Village to Ghatampur Thermal Power Station (GTPS) reservoir at site through underground pipes.
The EPC contract was awarded to M/s L&T MHPS Boilers Pvt Limited and M/s Alstom Bharat Forge Power Limited on August 2nd, 2016. The boiler package for the project is being supplied by M/s L&T MHPS Boilers Pvt. Limited and the Turbine-Generator Package is being supplied by M/s Alstom Bharat Forge Power Limited.

## Slide 9
SAHARPUR JAMARPANI COAL BLOCK
Ministry of Coal, Government of India has allocated Saharpur Jamarpani Coal Block to UP Rajya Vidyut Utpadan Nigam Limited to fulfil the coal requirements of UPRVUNL for upcoming new projects. It is located in Dumka district of Jharkhand.
New projects of UPRVUNL viz. Harduaganj Extension-II (1X660MW), Obra ‘C’ (2X660MW), Jawaharpur (2X660MW) and Panki Extension (1X660MW) will be fed by the coal from Saharpur Jamarpani Coal Block.
UPRVUNL is in the process to appoint M/s NLC India Limited, Neyveli (‘Navratna’–A Government of India Enterprise) for consultancy & supervisory work for development of this coal block through Mine Developer & Operator (MDO) route.

## Slide 10
CURRENT POWER DEMAND-SUPPLY STATUS IN U.P.
The approximate availability of electrical power in the state at present is summarized as below:
UPRVUNL units in operation 8460 MW
Upcoming UPRVUNL unit at Obra 660 MW
UPRVUNL Joint Venture Projects 2265 MW
UP State share in Thermal Projects of 9025 MW
Central Govt./Private sectors
UP Hydro Projects 501 MW
Total 20911 MW
The above detailed power availability is still not sufficient to meet out the peak demands of the state in summer season and as such further enhancement in the state power capability is required.

## Slide 11
NEW PROJECTS ENVISAGED
Seeing the rapidly growing power demand of the state and to keep UPRVUNL in pace, two new thermal power projects namely 2x800 MW Obra ‘D’ Thermal Power Project and 2x800 MW Anpara ‘E’ Thermal Power Projects have also been envisaged at Obra and Anpara under the joint venture mode between NTPC Ltd. and Uttar Pradesh Rajya Vidyut Utpadan Nigam Ltd. The basic engineering works are being done by the engineers of NTPC and UPRVUNL.
UPRVUNL is fully geared up to cope up with the electricity demand of the state and to provide the reliable, uninterrupted, efficient and cost effective electricity to the people of the state. Its generating units utilize latest state of art technologies such as Distributed Control System(DCS), Condition Based Monitoring System(CMS), Online Vibration Monitoring System(VMS), Continuous Emission Monitoring System(CEMS), Effluent Monitoring & Treatment System(ETP), Enterprise Resource Planning(ERP) system etc. to ensure efficient and quality generation.

## Slide 12
Thank you